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21/78794/DISCON
Amscreen Logistics North


	
	

	23 December 2021
	

	
	

	Subject: 
	REQUEST FOR CONFIRMATION OF COMPLIANCE OF CONDITION 3 (OPEN STORAGE) AND 8 (STORE REFUSE AND WASTE MATERIALS) ATTACHED TO PLANNING PERMISSION 20/75125/REM

	
	



Dear Sir / Madam,

I am writing with regards to the above request received on the 10 November 2021 relating to the following location;

Plot H, Logistics North Land Off Lomax Way  (Logistics North Spine Road)  Logistics North  Salford   

Below is the DECISION to the above request in respect of Conditions 3 and 8 attached to the original planning permission and a summary of its status. Where relatively minor points of clarification have been requested before a condition can be discharged, and that information is received within 21 days of the date of this letter, then that further information will normally be accepted as part of the original request to discharge the condition.  Where significant amounts of information is required and/or where follow up information is not submitted within 21 days, then a new discharge of condition application must be submitted and a new fee will be charged.  All necessary and relevant information including any information previously submitted relating to a condition should be provided as part of any subsequent application.

3.	Prior to use of any part of the site for open storage of the development hereby approved full details of open storage within the confines of the application site, if proposed, shall be submitted to and approved in writing by the Local Planning Authority. Submitted details should include the area proposed, proposed types of materials and/or equipment to be stored, means of enclosure / screening and maximum heights of external storage. The approved details shall be implemented in full and retained thereafter. There shall be no other external storage except within the hereby approved storage area(s).

		Open storage will be provided to the rear of the site and will comprise an enclosed storage area
	marked on drawing BS853/010. It will measure 5m by 6m and will be used to store mechanical lifting gear and test frames plus any DSxx displays which are generally no higher than 3.2m. It will be enclosed by a 2m high ‘hit and miss’ timber fence to match the refuse store to conceal area from general view.

	The Local Planning Authority is satisfied with these details. 

	Condition 3 is discharged.

8. 	Prior to the unit/building hereby approved is first occupied or brought into use a detailed scheme shall be submitted to, and approved by, the Local Planning Authority showing the design and size of a facility to store refuse and waste materials. The approved scheme shall be implemented in full prior to first use of the development hereby approved and retained thereafter.


	The Local Planning Authority is in receipt of Condition Discharge Note 1 and drawing no. 20774_RPS-H1-ZZ-DR-A-5608 Rev. C01 which details the refuse and waste scheme and also the location of the existing and proposed refuse/waste area. This is currently being reviewed by the Councils Highway Engineer. I will write to you again under separate over once I have a response.

	Condition 8 is not discharged at this time.

If you require any further assistance please do not hesitate to contact the case officer Paul Bridge
on the above telephone number.

	Yours faithfully,
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Martin Hodgson
Associate Director Planning Building Control
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