|  |  | From | Phil Mason |  |
| --- | --- | --- | --- | --- |
|  |  |  | ## Highway Design |  |
|  |  |  | Place Directorate |  |
|  |  | Phone | 07929 862689 |  |
|  |  | Email | Phil.mason@salford.gov.uk |  |
| To | Caerwen Ramsden | Place Directorate |  |  |
| Copy to | Planning.contact@salford.gov.uk | Place Directorate |  |  |
| # Date | 25 May 2022 | Reference |  | 2279633pm01C3OrdsallLane |
| Subject | ## CONSULTATION RESPONSE (DISCHARGE OF PLANNING CONDITIONS) |  |  |  |

| ## Application Number: | ## 22/79633/DISCON |
| --- | --- |
| ## Proposal: | ## Request for confirmation of compliance of condition 14 (noise mitigation measures) attached to planning permission 17/70278/FUL |
| ## Location: | ## 221 - 223 Ordsall Lane Salford M5 4TD |

Thank you for consulting me on planning application 22/79633/DISCON.

Documents Reviewed:

- Noise Exposure Assessment, March 2022, Ref: 16784-NEA-01_RevA

Condition 14:

A noise impact assessment was submitted and agreed with the 2017 application, however at the time, the detail of the mitigation measures required finalisation.

The applicant has submitted a noise exposure assessment (1 above) to determine appropriate noise mitigation measures for the development.  An unattended noise survey has been undertaken and data used to inform computer modelling to predict façade noise levels.

The report provides a detailed specification for the acoustic glazing in order to achieve internal noise levels in accordance with BS8233:2014 and the requirements of condition 12 of 17/70278/FUL.

Based on the above I am satisfied the condition can be discharged.  The applicant is required to implement the recommendations.

Should you require any further information please do not hesitate to contact me.

Phil Mason MSc, PGDip Acoustics, MIEnvSc, MIAQM, MCIEH

Environmental Consultant | Salford City Council

T: 07929 862689 | E-mail: Phil.Mason@salford.gov.uk