Memo

Date:		 12th October 2022

To:		Nancy Thynne

Your Ref:	22/79659/FUL

My Ref:	22/79659/FUL

Subject:	 20 Cranbrook Road, Eccles,

Proposal:	Construction of 2no semi-detached houses with associated landscaping and parking

Location:	 20 Cranbrook Road, Eccles, Salford, M30 8LD,

Highway Comments:

The applicant is proposing to construct two semi-detached houses on a piece of vacant land. The proposed site is located within a residential area in Eccles. The applicant is proposing to construct two residential properties each being three bedrooms and having two associated car parking spaces per property. As part of the application the adjacent property is also having two new car parking spaces constructed.

Following Previous Local Highway Authority comments dated 14th September 2022, the applicant has submitted a new Proposed Site Plan. This shows a slight amendment to the access point to Plot 1 and the speed cushion to the front of Plot 2 being moved 5m in a north westerly direction so that it sits in front of the boundary line between Plots 1 and 2.

The proposed changes are acceptable from an LHA point of view, but the final details of the design of the access points, the vehicle crossover and speed cushion should be secured by way of a condition.

It should be noted that no details as to the design of the boundary fence line has been provided. If the applicant is installing a boundary fence this should be no higher than 0.6m. If the applicant is wishing to install a higher fence line, then this should be in the form of permeable boundary treatment to allow intervisibility of pedestrians by vehicles exiting the driveways.

Recommendations:

Following the additional information supplied by the applicant the Local Highways Authority have no further objections to the application. However, we would recommend that the following condition is placed on any decision.

Highways Work

Prior to any above construction, details of the works required to the surrounding highway shall be submitted to and approved in writing by the Local Planning Authority. To include construction details of the new site access points with provision of a drop kerbs and renewal of footway fronting the development on Cranbrook Road, should be appropriately designed and shall be submitted to and agreed in writing by the Local Highway Authority. The approved scheme shall be constructed in accordance with the approved drawings prior to the occupation of the development.

Informatives:

- If the applicant is proposing to install gates these should open inwards so as to not block the adopted footway or be in the form of sliding gate,

- If the applicant is proposing any boundary treatment this should be no higher than 0.6m or or be in the form of permeable boundary treatment.

- Vehicle crossover point should be design and constructed in accordance with SCC standard detail drawing SCC-SD-700-001 Resi Road Construction and SCC-SD-1100-006 STANDARD KERB DETAILS 1 of 2

- The applicant will be responsible for the cost of moving the speed cushion and the new location should be shown on an updated site plan. The design and final location should be agreed with the LHA and should be redesigned in accordance with SD1200-SCC-HPV-XX-DR-C-0004 - Speed Cushion Detail 2 of 2

- All works to the highway to be delivered by an S171 agreement and Greater Manchester Roads Activities Permit Scheme (GMRAPS).

- Applicant must ensure existing utilities (ie BT floor box, water mains and adopted street lighting) are protected and have permission from various statutory undertakers prior to undertaking any work within the vicinity of the utility within the footway and also protection to the construction of the existing carriageway.

Highway Permits/Licensing:

- Applications for all forms of highway permits/licenses shall be made in advance of any works being undertaken on the adopted highway Note: NO boundary fencing shall be erected or positioned on any part of the adopted highway prior to first seeking the relevant permits/licenses from the Local Highway Authority Tel: 0161 603 4046 / 4006 or by email: john.horrocks@salford.gov.uk / pam.docksey@salford.gov.uk

General Highway Information:

- Requests for general Information regarding the adopted highway network shall be directed to the Local Highway Authority – Tel: 0161 603 4046 / 4006 or by email: john.horrocks@salford.gov.uk / pam.docksey@salford.gov.uk

Kind regards,

Andrew Fisher

Sustainable Transport Coordinator

Email: Andrew.Fisher@Salford.gov.uk

Tel: 0161 779 6103