|  |  | From | Phil Mason |  |
| --- | --- | --- | --- | --- |
|  |  |  | ## Highway Design |  |
|  |  |  | Place Directorate |  |
|  |  | Phone | 07929 862689 |  |
|  |  | Email | Phil.mason@salford.gov.uk |  |
| To | Paul Bridge | Place Directorate |  |  |
| Copy to | Planning.contact@salford.gov.uk | Place Directorate |  |  |
| # Date | 08 November 2022 | Reference |  | 2280525pm01C3MillersStreet |
| Subject | ## CONSULTATION RESPONSE (DISCHARGE OF PLANNING CONDITIONS) |  |  |  |

| ## Application Number: | ## 22/80525/DISCON |
| --- | --- |
| ## Proposal: | ## Request for confirmation of compliance of condition No. 15 - Pursuant to condition 14 (verification report) attached to planning permission 21/77201/FUL |
| ## Location: | ## St Josephs Hostel 1 Millers Street Eccles M30 8PF |

Thank you for consulting me on planning application 22/80525/DISCON.

Documents Reviewed:

- Phase II site Investigation Report, December 2021, Ref: CGN/04731 Rev 1, CGL

Condition 14:  Discharge

The application is supported by a phase 2 site investigation (1 above). The site investigation is based on the findings of the desk study submitted with the outline investigation.

The site investigation includes 3 No. trial pits and 6 No. window samples .  The results from chemical soil sampling has been presented.  Ground gas monitoring has been undertaken over 4 No. visits.

Soil analysis results have been assessed against UK generic acceptance criteria (GAC) based on a residential end use (with home grown produce).  The results heavy metals and polycyclic aromatic hydrocarbons (PAHs) in one area.  Ground gas monitoring confirmed the site is classified as CS1 (no gas protection measures required).

The area of shallow soils contamination is predominantly under the proposed building footprint, as such any pathway to future occupants will be broken. Any growing on the site will be in raised planters, and as the site is a managed site this is considered acceptable.

The conclusions of the report are accepted, and I consider condition 14 can be discharged.  The applicant is reminded of the requirement to undertake the development in accordance with the agreed remediation strategy including ensuring the necessary verifications are undertaken.

Should you require any further information please do not hesitate to contact me.

INFORMATIVES

CINF1 – Land contamination Standard Informative

The applicant is advised that they have a duty to adhere to the regulations of Part 2A of the Environmental Protection Act 1990, the National Planning Policy Framework 2018 and the current Building Control Regulations with regards to contaminated land. The responsibility to ensure the safe development of land affected by contamination rests primarily with the developer.

Phil Mason MSc, PGDip Acoustics, MIEnvSc, MIAQM, MCIEH

Environmental Consultant | Salford City Council

T: 07929 862689 | E-mail: Phil.Mason@salford.gov.uk