Proposal:	Request for confirmation of compliance of condition 25 (contamination) attached to planning permission 16/69223/FUL.

Location:	257 Ordsall Lane Salford M5 3WH

Thank you for consulting me on this application.

Documents Reviewed:

- Piling Risk Assessment, December 2019, Ref: 12-233-R6, e3p

Condition 25:  Discharge subject to Environment Agency Agreement

The application site lies above a principle aquifer and is in close proximity to Manchester Ship Canal.  Piled foundations have the potential to introduce preferential pathways for mobile contaminants to migrate either into controlled waters, shallow soils or upward migration of ground gasses.

The piling risk assessment (1 above) has been submitted with respect to discharging condition 25.  The proposal is to use 450mm diameter CFA (Continuous Flight Augured) piles to depths between 11.5m and 8.5m below piling level.

With respect to ground gas, the site is classed as CS2, and properties will be constructed with gas protection measures.  With respect to the aquifer, CFA piling tends to reduce the potential of dragging contaminants downwards into the aquifer beneath the site.  The report considers there is a low potential for any contamination to impact the aquifer during the piling process.

The conclusions of the report are accepted with respect to ground gas and risk to human health, however the Environment Agency are the regulatory body with responsibility for safeguarding controlled waters and they should be consulted prior to fully discharging condition 25.

CINF1 – Land contamination Standard Informative

The applicant is advised that they have a duty to adhere to the regulations of Part 2A of the Environmental Protection Act 1990, the National Planning Policy Framework 2018 and the current Building Control Regulations with regards to contaminated land. The responsibility to ensure the safe development of land affected by contamination rests primarily with the developer.

If you have any queries, please contact me.

Phil Mason

Environmental Consultant, Urban Vision

Tel:	0161 779 4905 
Email:	phil.mason@urbanvision.org.uk